## Assumptions
FDRE Bid Financial Model — Assumptions
NHPC FDRE Tranche-II · 200 MW · Rajasthan portfolio · All cells in BLUE are inputs; YELLOW cells are the solver levers.
LEGEND & HOW TO USE
Blue text = hardcoded input · Black = formula · Green = link to another sheet · Yellow fill = key lever.
To re-derive the bid tariff after changing any assumption: Data ▸ What-If Analysis ▸ Goal Seek —
set 'Financial Model'!C68 (Equity IRR) to 0.14 by changing Assumptions!C11 (Bid tariff).
Then verify 'Financial Model'!C70 Min DSCR ≥ 1.10 (if it binds instead, Goal Seek on C70).
A. OPTIMIZED BID CONFIGURATION (optimizer output — engine run, seed 42)
Solar capacity (AC) | 288.8 | MW | Optimizer result
Wind capacity | 40.9 | MW | Optimizer result
BESS power | 180 | MW | Optimizer result
BESS energy | 540 | MWh | Optimizer result
Contracted (bid) capacity | 200 | MW | Selected bid capacity
Bid tariff (levelized) | 5.9113 | Rs/kWh | REQUIRED TARIFF at declared-value delivery (CUF 40%, availability 90%): lowest tariff meeting IRR & DSCR targets — re-derive via Goal Seek (see legend)
B. TENDER RULES (NHPC FDRE Tranche-II RfS)
Declared annual CUF | 40% |  | RfS: bid declaration, min 40%
Annual CUF lower tolerance | 15% |  | RfS: -15% on declared CUF
Annual CUF upper multiplier | 1.1 | x | RfS: NHPC offtake capped at +10%
PPA offtake target (x declared CUF) | 1 | x | SCENARIO LEVER: 1.00 = deliver at declared CUF (this case); 1.10 = deliver at the +10% offtake cap (gives Rs 5.58)
Hours per year (CUF convention) | 8766 | h | RfS LD illustration uses 8,766 h
Peak availability floor (monthly) | 90% |  | RfS: 90% of contracted capacity in peak hours
Peak hours per day | 4 | h | 2 morning (05-10) + 2 evening (18-23), buyer-scheduled
Liquidated damages multiplier | 1.5 | x tariff | Applies to monthly-peak and annual-CUF shortfall
PSM charge | 0.02 | Rs/kWh | Netted from tariff in revenue
PPA term | 25 | years
C. RESOURCE & DELIVERED YIELD
Solar net CUF (P50, base) | 27.5% |  | PVsyst — TOPCon bifacial, 1.5 DC/AC
Wind net CUF (P50, base) | 34% |  | Project configuration; measured Bikaner data
Measured-yield calibration factor | 1.1911 | x | Calibrates synthetic base CUFs to the measured-trace optimizer run that produced the bid (engine seed 42). Change only with new yield studies.
Delivery efficiency to POI | 90% |  | BESS cycling losses + spill in firming the peak blocks
Solar degradation | 0.5% | /yr
Wind degradation | 0.2% | /yr
Merchant capture of surplus | 60% |  | Curtailment haircut and solar-hour price factor on surplus sales
D. CAPEX UNIT RATES (Rs cr)
Solar EPC | 3.1 | cr/MWac | Project configuration
Wind EPC | 6.5 | cr/MW
BESS energy | 1.1 | cr/MWh
BESS PCS | 0.3 | cr/MW
Land & development — lump sum | 90 | cr | Project configuration
Land — solar | 0.45 | cr/MWac
Land — wind | 0.08 | cr/MW
Land — BESS | 0.02 | cr/MWh
Transmission — lump sum | 180 | cr | Project configuration
Transmission — per MW (evacuation basis) | 1 | cr/MW
Interconnection limit (3 nodes) | 280 | MW | Fatehgarh 30 + Bikaner III 150 + Bikaner II 100
Owner's costs — lump sum | 60 | cr
Owner's costs — per MW (all assets) | 0.12 | cr/MW
Success charge | 1 | lakh/MW +18% GST | On contracted capacity
Processing fee (100–250 MW slab) | 10 | lakh +18% GST | RfS slab
Contingency | 3% | of base capex
E. O&M AND OTHER OPEX
Solar O&M | 5.5 | lakh/MW/yr
Wind O&M | 11 | lakh/MW/yr
BESS O&M | 1.2 | lakh/MWh/yr
Admin — fixed | 5 | cr/yr
Admin — per MW (all assets) | 0.75 | lakh/MW/yr
Transmission O&M (evacuation basis) | 2 | lakh/MW/yr
Insurance | 0.35% | of hard capex/yr
O&M escalation | 3.5% | /yr
Transmission loss | 0.5% | of PPA revenue
F. FINANCING
Debt fraction | 75% | of project cost
Interest rate (long-term debt) | 8.75% | /yr
Debt tenor | 18 | years | Sculpted repayment (constant DSCR)
Sculpting DSCR constant | 1.4782 | x | Sets debt service = CFADS / this constant. Re-solve by Goal Seek: Capex!G31 (closing debt yr-18) to 0 by changing this cell.
Construction period | 24 | months
Drawdown — year 1 | 45%
Drawdown — year 2 | 55%
Target equity IRR | 14% |  | Bid solve criterion
Minimum DSCR floor | 1.1 | x | Bid solve criterion
Equity discount rate (NPV) | 10%
Receivable days | 60 | days | Working capital
Working-capital interest rate | 9.5% | /yr
G. TAX & DEPRECIATION
Corporate tax rate (Sec 115BAA) | 25.17% |  | Incl. surcharge & cess
Tax WDV depreciation rate | 40% | /yr | On eligible block
Eligible block fraction | 95% | of project cost | Balance on straight line
Book depreciation life | 25 | years | SLM
Residual value | 5%
H. BESS AUGMENTATION & MERCHANT
Augmentation year | 11 |  | Full energy replacement per BESS spec
Energy replacement fraction | 100%
Augmentation cost | 0.75 | cr/MWh | Future cell price
Merchant price — year 1 | 3.25 | Rs/kWh
Merchant escalation | 2% | /yr
Sources: RFS.pdf, PROJECT CONFIGURATION_FDRE 2.docx, project_config_fdre2.json, engine fdre_enterprise_engine.py (v1.x, seed 42).

## Capex
Capex Build-Up & Financing (Rs cr)
Component | Rs cr | Basis | IDC schedule
Solar EPC | 895.28 | Solar MW x EPC rate | Month | Debt drawn (cum) | Interest
Wind EPC | 265.85 | Wind MW x EPC rate | 1 | 76.0952 | 0.53378
BESS energy | 594 | MWh x rate | 2 | 152.1905 | 1.0676
BESS PCS | 54 | MW x rate | 3 | 228.2857 | 1.6013
Land & development | 234.032 | Lump + per-asset land | 4 | 304.3809 | 2.1351
Transmission & connectivity | 460 | Lump + evacuation MW x rate | 5 | 380.4761 | 2.6689
Owner's costs | 121.164 | Lump + all-asset MW x rate | 6 | 456.5714 | 3.2027
Success charge | 2.36 | Contracted MW x 1 lakh x GST | 7 | 532.6666 | 3.7364
Processing fee | 0.118 | Slab fee x GST | 8 | 608.7618 | 4.2702
Base capex | 2626.804 |  | 9 | 684.8571 | 4.804
Contingency | 78.8041 |  | 10 | 760.9523 | 5.3378
HARD CAPEX | 2705.6081 |  | 11 | 837.0475 | 5.8716
Evacuation basis (MW) | 280 | min(max(contracted, RE MW, BESS MW), interconnection) | 12 | 913.1427 | 6.4053
|  |  | 13 | 1006.148 | 7.0577
Monthly interest rate | 0.7015% |  | 14 | 1099.1533 | 7.7101
Debt base for IDC (hard x debt%) | 2029.2061 |  | 15 | 1192.1586 | 8.3625
IDC (capitalized) | 169.3857 |  | 16 | 1285.1639 | 9.0149
TOTAL PROJECT COST | 2874.9938 |  | 17 | 1378.1691 | 9.6673
Debt | 2156.2454 |  | 18 | 1471.1744 | 10.3197
Equity | 718.7485 |  | 19 | 1564.1797 | 10.9721
|  |  | 20 | 1657.185 | 11.6245
EMD (capped Rs 10 cr) | 10 | Rs 9.28/12.64/14.64 lakh per MW (solar/wind/ESS) | 21 | 1750.1903 | 12.2769
PBG | 145.806 | Rs 23.20/31.60/36.60 lakh per MW | 22 | 1843.1955 | 12.9293
|  |  | 23 | 1936.2008 | 13.5817
BESS augmentation capex (year 11) | 405 |  | 24 | 2029.2061 | 14.2341
|  |  | CHECK: debt fully repaid by yr-18 (closing balance, cr) | 0
Goal Seek this to 0 by changing Assumptions sculpting DSCR if assumptions change.

## Dispatch 25Y
25-Year Dispatch & Annual Compliance (MWh)
PPA cap =
Year | Solar gen | Wind gen | RE total | Delivered at POI | PPA target | PPA energy | Annual CUF | Surplus | Merchant sold | CUF floor ok | CUF cap ok | Spill
1 | 829267.9623 | 145200.205 | 974468.1673 | 877021.3506 | 701280 | 701280 | 40% | 175741.3506 | 105444.8104 | PASS | PASS | 70296.5402
2 | 825121.6225 | 144909.8046 | 970031.4271 | 873028.2844 | 701280 | 701280 | 40% | 171748.2844 | 103048.9706 | PASS | PASS | 68699.3138
3 | 820996.0144 | 144619.985 | 965615.9994 | 869054.3995 | 701280 | 701280 | 40% | 167774.3995 | 100664.6397 | PASS | PASS | 67109.7598
4 | 816891.0343 | 144330.745 | 961221.7794 | 865099.6014 | 701280 | 701280 | 40% | 163819.6014 | 98291.7609 | PASS | PASS | 65527.8406
5 | 812806.5791 | 144042.0836 | 956848.6627 | 861163.7964 | 701280 | 701280 | 40% | 159883.7964 | 95930.2779 | PASS | PASS | 63953.5186
6 | 808742.5462 | 143753.9994 | 952496.5456 | 857246.8911 | 701280 | 701280 | 40% | 155966.8911 | 93580.1346 | PASS | PASS | 62386.7564
7 | 804698.8335 | 143466.4914 | 948165.3249 | 853348.7924 | 701280 | 701280 | 40% | 152068.7924 | 91241.2755 | PASS | PASS | 60827.517
8 | 800675.3394 | 143179.5584 | 943854.8978 | 849469.408 | 701280 | 701280 | 40% | 148189.408 | 88913.6448 | PASS | PASS | 59275.7632
9 | 796671.9627 | 142893.1993 | 939565.1619 | 845608.6457 | 701280 | 701280 | 40% | 144328.6457 | 86597.1874 | PASS | PASS | 57731.4583
10 | 792688.6028 | 142607.4129 | 935296.0157 | 841766.4142 | 701280 | 701280 | 40% | 140486.4142 | 84291.8485 | PASS | PASS | 56194.5657
11 | 788725.1598 | 142322.1981 | 931047.3579 | 837942.6221 | 701280 | 701280 | 40% | 136662.6221 | 81997.5733 | PASS | PASS | 54665.0488
12 | 784781.534 | 142037.5537 | 926819.0877 | 834137.1789 | 701280 | 701280 | 40% | 132857.1789 | 79714.3074 | PASS | PASS | 53142.8716
13 | 780857.6264 | 141753.4786 | 922611.1049 | 830349.9944 | 701280 | 701280 | 40% | 129069.9944 | 77441.9967 | PASS | PASS | 51627.9978
14 | 776953.3382 | 141469.9716 | 918423.3098 | 826580.9788 | 701280 | 701280 | 40% | 125300.9788 | 75180.5873 | PASS | PASS | 50120.3915
15 | 773068.5715 | 141187.0317 | 914255.6032 | 822830.0429 | 701280 | 701280 | 40% | 121550.0429 | 72930.0257 | PASS | PASS | 48620.0172
16 | 769203.2287 | 140904.6576 | 910107.8863 | 819097.0976 | 701280 | 701280 | 40% | 117817.0976 | 70690.2586 | PASS | PASS | 47126.8391
17 | 765357.2125 | 140622.8483 | 905980.0608 | 815382.0547 | 701280 | 701280 | 40% | 114102.0547 | 68461.2328 | PASS | PASS | 45640.8219
18 | 761530.4265 | 140341.6026 | 901872.0291 | 811684.8262 | 701280 | 701280 | 40% | 110404.8262 | 66242.8957 | PASS | PASS | 44161.9305
19 | 757722.7743 | 140060.9194 | 897783.6937 | 808005.3243 | 701280 | 701280 | 40% | 106725.3243 | 64035.1946 | PASS | PASS | 42690.1297
20 | 753934.1605 | 139780.7975 | 893714.958 | 804343.4622 | 701280 | 701280 | 40% | 103063.4622 | 61838.0773 | PASS | PASS | 41225.3849
21 | 750164.4897 | 139501.2359 | 889665.7256 | 800699.1531 | 701280 | 701280 | 40% | 99419.1531 | 59651.4918 | PASS | PASS | 39767.6612
22 | 746413.6672 | 139222.2335 | 885635.9007 | 797072.3106 | 701280 | 701280 | 40% | 95792.3106 | 57475.3864 | PASS | PASS | 38316.9242
23 | 742681.5989 | 138943.789 | 881625.3879 | 793462.8491 | 701280 | 701280 | 40% | 92182.8491 | 55309.7095 | PASS | PASS | 36873.1396
24 | 738968.1909 | 138665.9014 | 877634.0923 | 789870.6831 | 701280 | 701280 | 40% | 88590.6831 | 53154.4099 | PASS | PASS | 35436.2732
25 | 735273.3499 | 138388.5696 | 873661.9196 | 786295.7276 | 701280 | 701280 | 40% | 85015.7276 | 51009.4366 | PASS | PASS | 34006.291
Scenario: PPA delivery held at the DECLARED CUF (40%) in all 25 years — inside the -15%/+10% band throughout. Surplus RE above the target is sold merchant at the capture factor. Set the offtake lever to 1.10 to model delivery at the +10% cap.

## Monthly Y1
Year-1 Monthly Dispatch & Peak Compliance
Month | Days | Peak hours | Peak obligation MWh | Availability % | Peak delivered MWh | Floor (90%) MWh | Shortfall MWh | LD Rs cr | Compliant | PPA energy MWh | Monthly CUF
Jan | 31 | 124 | 24800 | 90% | 22320 | 22320 | 0 | 0 | PASS | 59560.7671 | 40.03%
Feb | 28 | 112 | 22400 | 90% | 20160 | 20160 | 0 | 0 | PASS | 53796.8219 | 40.03%
Mar | 31 | 124 | 24800 | 90% | 22320 | 22320 | 0 | 0 | PASS | 59560.7671 | 40.03%
Apr | 30 | 120 | 24000 | 90% | 21600 | 21600 | 0 | 0 | PASS | 57639.4521 | 40.03%
May | 31 | 124 | 24800 | 90% | 22320 | 22320 | 0 | 0 | PASS | 59560.7671 | 40.03%
Jun | 30 | 120 | 24000 | 90% | 21600 | 21600 | 0 | 0 | PASS | 57639.4521 | 40.03%
Jul | 31 | 124 | 24800 | 90% | 22320 | 22320 | 0 | 0 | PASS | 59560.7671 | 40.03%
Aug | 31 | 124 | 24800 | 90% | 22320 | 22320 | 0 | 0 | PASS | 59560.7671 | 40.03%
Sep | 30 | 120 | 24000 | 90% | 21600 | 21600 | 0 | 0 | PASS | 57639.4521 | 40.03%
Oct | 31 | 124 | 24800 | 90% | 22320 | 22320 | 0 | 0 | PASS | 59560.7671 | 40.03%
Nov | 30 | 120 | 24000 | 90% | 21600 | 21600 | 0 | 0 | PASS | 57639.4521 | 40.03%
Dec | 31 | 124 | 24800 | 90% | 22320 | 22320 | 0 | 0 | PASS | 59560.7671 | 40.03%
TOTAL / MIN | 365 |  | 292000 | 90% |  |  | 0 | 0 | ALL PASS | 701280
Scenario: availability held at the 90% RfS floor in every month (blue inputs) — exactly compliant, zero liquidated damages. Replace with monthly dispatch output when re-running the engine.

## Financial Model
25-Year Financial Model (Rs cr unless noted)
Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
ENERGY
PPA energy (MWh) | 701280 | 701280 | 701280 | 701280 | 701280 | 701280 | 701280 | 701280 | 701280 | 701280 | 701280 | 701280 | 701280 | 701280 | 701280 | 701280 | 701280 | 701280 | 701280 | 701280 | 701280 | 701280 | 701280 | 701280 | 701280
Merchant energy (MWh) | 105444.8104 | 103048.9706 | 100664.6397 | 98291.7609 | 95930.2779 | 93580.1346 | 91241.2755 | 88913.6448 | 86597.1874 | 84291.8485 | 81997.5733 | 79714.3074 | 77441.9967 | 75180.5873 | 72930.0257 | 70690.2586 | 68461.2328 | 66242.8957 | 64035.1946 | 61838.0773 | 59651.4918 | 57475.3864 | 55309.7095 | 53154.4099 | 51009.4366
REVENUE
Net PPA tariff (Rs/kWh, tariff - PSM) | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913 | 5.8913
PPA revenue | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451 | 413.1451
Merchant price (Rs/kWh) | 3.25 | 3.315 | 3.3813 | 3.4489 | 3.5179 | 3.5883 | 3.66 | 3.7332 | 3.8079 | 3.8841 | 3.9617 | 4.041 | 4.1218 | 4.2042 | 4.2883 | 4.3741 | 4.4616 | 4.5508 | 4.6418 | 4.7346 | 4.8293 | 4.9259 | 5.0244 | 5.1249 | 5.2274
Merchant revenue | 34.2696 | 34.1607 | 34.0377 | 33.9001 | 33.7474 | 33.579 | 33.3946 | 33.1935 | 32.9753 | 32.7394 | 32.4852 | 32.2123 | 31.9199 | 31.6076 | 31.2746 | 30.9204 | 30.5443 | 30.1457 | 29.7239 | 29.2781 | 28.8077 | 28.3119 | 27.79 | 27.2412 | 26.6648
Total revenue | 447.4146 | 447.3058 | 447.1828 | 447.0452 | 446.8924 | 446.7241 | 446.5396 | 446.3386 | 446.1204 | 445.8845 | 445.6303 | 445.3574 | 445.065 | 444.7527 | 444.4197 | 444.0655 | 443.6894 | 443.2908 | 442.8689 | 442.4232 | 441.9528 | 441.457 | 440.9351 | 440.3863 | 439.8099
OPERATING EXPENSES
Generation + BESS O&M (escalated) | 26.863 | 27.8032 | 28.7763 | 29.7835 | 30.8259 | 31.9048 | 33.0215 | 34.1772 | 35.3734 | 36.6115 | 37.8929 | 39.2192 | 40.5918 | 42.0126 | 43.483 | 45.0049 | 46.5801 | 48.2104 | 49.8977 | 51.6442 | 53.4517 | 55.3225 | 57.2588 | 59.2629 | 61.3371
Admin (escalated) | 8.8227 | 9.1315 | 9.4512 | 9.7819 | 10.1243 | 10.4787 | 10.8454 | 11.225 | 11.6179 | 12.0245 | 12.4454 | 12.8809 | 13.3318 | 13.7984 | 14.2813 | 14.7812 | 15.2985 | 15.834 | 16.3882 | 16.9617 | 17.5554 | 18.1698 | 18.8058 | 19.464 | 20.1452
Transmission O&M (escalated) | 5.6 | 5.796 | 5.9989 | 6.2088 | 6.4261 | 6.651 | 6.8838 | 7.1248 | 7.3741 | 7.6322 | 7.8994 | 8.1758 | 8.462 | 8.7582 | 9.0647 | 9.382 | 9.7103 | 10.0502 | 10.4019 | 10.766 | 11.1428 | 11.5328 | 11.9365 | 12.3542 | 12.7866
Insurance (on hard capex) | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696 | 9.4696
Working-capital interest | 6.987 | 6.9853 | 6.9834 | 6.9813 | 6.9789 | 6.9762 | 6.9734 | 6.9702 | 6.9668 | 6.9631 | 6.9592 | 6.9549 | 6.9503 | 6.9455 | 6.9403 | 6.9347 | 6.9288 | 6.9226 | 6.916 | 6.9091 | 6.9017 | 6.894 | 6.8858 | 6.8773 | 6.8683
Transmission losses (on PPA revenue) | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657 | 2.0657
Total opex | 59.8081 | 61.2514 | 62.7451 | 64.2909 | 65.8906 | 67.5461 | 69.2594 | 71.0326 | 72.8676 | 74.7667 | 76.7321 | 78.7662 | 80.8713 | 83.0499 | 85.3046 | 87.6381 | 90.0531 | 92.5525 | 95.1392 | 97.8163 | 100.587 | 103.4545 | 106.4222 | 109.4937 | 112.6725
EBITDA | 387.6065 | 386.0544 | 384.4377 | 382.7543 | 381.0019 | 379.178 | 377.2802 | 375.306 | 373.2528 | 371.1177 | 368.8982 | 366.5912 | 364.1937 | 361.7028 | 359.1151 | 356.4274 | 353.6363 | 350.7383 | 347.7297 | 344.6068 | 341.3657 | 338.0025 | 334.5128 | 330.8926 | 327.1373
TAX COMPUTATION (Sec 115BAA, WDV + loss carry-forward)
WDV block — opening | 2731.2441 | 1638.7465 | 983.2479 | 589.9487 | 353.9692 | 212.3815 | 127.4289 | 76.4574 | 45.8744 | 27.5246 | 16.5148 | 240.7589 | 144.4553 | 86.6732 | 52.0039 | 31.2023 | 18.7214 | 11.2328 | 6.7397 | 4.0438 | 2.4263 | 1.4558 | 0.87347 | 0.52408 | 0.31445
Addition (augmentation x eligible) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 384.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WDV depreciation (40%) | 1092.4977 | 655.4986 | 393.2992 | 235.9795 | 141.5877 | 84.9526 | 50.9716 | 30.5829 | 18.3498 | 11.0099 | 160.5059 | 96.3035 | 57.7821 | 34.6693 | 20.8016 | 12.4809 | 7.4886 | 4.4931 | 2.6959 | 1.6175 | 0.97052 | 0.58231 | 0.34939 | 0.20963 | 0.12578
WDV block — closing | 1638.7465 | 983.2479 | 589.9487 | 353.9692 | 212.3815 | 127.4289 | 76.4574 | 45.8744 | 27.5246 | 16.5148 | 240.7589 | 144.4553 | 86.6732 | 52.0039 | 31.2023 | 18.7214 | 11.2328 | 6.7397 | 4.0438 | 2.4263 | 1.4558 | 0.87347 | 0.52408 | 0.31445 | 0.18867
SLM on non-eligible 5% | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75 | 5.75
Total tax depreciation | 1098.2476 | 661.2486 | 399.0491 | 241.7295 | 147.3377 | 90.7026 | 56.7216 | 36.3329 | 24.0998 | 16.7598 | 166.2559 | 102.0535 | 63.5321 | 40.4193 | 26.5516 | 18.2309 | 13.2386 | 10.2431 | 8.4459 | 7.3675 | 6.7205 | 6.3323 | 6.0994 | 5.9596 | 5.8758
Taxable income (EBITDA - interest - tax dep) | -899.3126 | -461.7843 | -194.6754 | -32.0375 | 68.1167 | 130.9966 | 171.7468 | 199.4744 | 219.6656 | 235.6365 | 95.5026 | 169.8619 | 219.4041 | 254.4765 | 278.6863 | 296.7136 | 311.9662 | 325.8648 | 339.2839 | 337.2393 | 334.6452 | 331.6702 | 328.4135 | 324.933 | 321.2616
Loss brought forward | 0 | 899.3126 | 1361.0969 | 1555.7723 | 1587.8097 | 1519.6931 | 1388.6965 | 1216.9496 | 1017.4753 | 797.8097 | 562.1732 | 466.6706 | 296.8087 | 77.4046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable after loss set-off | -899.3126 | -1361.0969 | -1555.7723 | -1587.8097 | -1519.6931 | -1388.6965 | -1216.9496 | -1017.4753 | -797.8097 | -562.1732 | -466.6706 | -296.8087 | -77.4046 | 177.0719 | 278.6863 | 296.7136 | 311.9662 | 325.8648 | 339.2839 | 337.2393 | 334.6452 | 331.6702 | 328.4135 | 324.933 | 321.2616
Tax payable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44.5655 | 70.1398 | 74.6769 | 78.5157 | 82.0136 | 85.391 | 84.8764 | 84.2235 | 83.4747 | 82.6551 | 81.7791 | 80.8551
Loss carried forward | 899.3126 | 1361.0969 | 1555.7723 | 1587.8097 | 1519.6931 | 1388.6965 | 1216.9496 | 1017.4753 | 797.8097 | 562.1732 | 466.6706 | 296.8087 | 77.4046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PROFIT & LOSS
Book depreciation (SLM to 5% residual) | 109.2498 | 109.2498 | 109.2498 | 109.2498 | 109.2498 | 109.2498 | 109.2498 | 109.2498 | 109.2498 | 109.2498 | 134.8998 | 134.8998 | 134.8998 | 134.8998 | 134.8998 | 134.8998 | 134.8998 | 134.8998 | 134.8998 | 134.8998 | 134.8998 | 134.8998 | 134.8998 | 134.8998 | 134.8998
EBIT | 278.3568 | 276.8046 | 275.188 | 273.5046 | 271.7521 | 269.9282 | 268.0304 | 266.0562 | 264.003 | 261.868 | 233.9984 | 231.6914 | 229.294 | 226.803 | 224.2153 | 221.5276 | 218.7366 | 215.8385 | 212.83 | 209.7071 | 206.466 | 203.1027 | 199.6131 | 195.9928 | 192.2376
Interest on term debt | 188.6715 | 186.5901 | 180.064 | 173.0623 | 165.5475 | 157.4788 | 148.8118 | 139.4987 | 129.4874 | 118.7214 | 107.1397 | 94.6757 | 81.2575 | 66.807 | 53.8772 | 41.4829 | 28.4315 | 14.6304 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Profit before tax | 89.6853 | 90.2145 | 95.124 | 100.4423 | 106.2046 | 112.4494 | 119.2186 | 126.5575 | 134.5156 | 143.1465 | 126.8587 | 137.0157 | 148.0364 | 159.996 | 170.3381 | 180.0447 | 190.305 | 201.2081 | 212.83 | 209.7071 | 206.466 | 203.1027 | 199.6131 | 195.9928 | 192.2376
PAT | 89.6853 | 90.2145 | 95.124 | 100.4423 | 106.2046 | 112.4494 | 119.2186 | 126.5575 | 134.5156 | 143.1465 | 126.8587 | 137.0157 | 148.0364 | 115.4306 | 100.1983 | 105.3679 | 111.7893 | 119.1945 | 127.439 | 124.8307 | 122.2425 | 119.628 | 116.958 | 114.2137 | 111.3824
DEBT SCHEDULE (sculpted, constant DSCR)
Debt — opening | 2156.2454 | 2132.4585 | 2057.8738 | 1977.855 | 1891.9717 | 1799.7575 | 1700.7067 | 1594.271 | 1479.8558 | 1356.8164 | 1224.4534 | 1082.0082 | 928.6575 | 763.5084 | 615.7398 | 474.0905 | 324.932 | 167.2048 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest | 188.6715 | 186.5901 | 180.064 | 173.0623 | 165.5475 | 157.4788 | 148.8118 | 139.4987 | 129.4874 | 118.7214 | 107.1397 | 94.6757 | 81.2575 | 66.807 | 53.8772 | 41.4829 | 28.4315 | 14.6304 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sculpted debt service target (CFADS/DSCR) | 212.4584 | 261.1748 | 260.0827 | 258.9456 | 257.7617 | 256.5296 | 255.2476 | 253.9139 | 252.5268 | 251.0844 | 249.5849 | 248.0264 | 246.4067 | 214.5756 | 195.5265 | 190.6414 | 186.1588 | 181.8344 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal repayment | 23.7869 | 74.5847 | 80.0188 | 85.8833 | 92.2142 | 99.0508 | 106.4357 | 114.4152 | 123.0394 | 132.363 | 142.4453 | 153.3507 | 165.1491 | 147.7686 | 141.6493 | 149.1585 | 157.7272 | 167.2048 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service | 212.4584 | 261.1748 | 260.0827 | 258.9456 | 257.7617 | 256.5296 | 255.2476 | 253.9139 | 252.5268 | 251.0844 | 249.5849 | 248.0264 | 246.4067 | 214.5756 | 195.5265 | 190.6414 | 186.1588 | 181.8352 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt — closing | 2132.4585 | 2057.8738 | 1977.855 | 1891.9717 | 1799.7575 | 1700.7067 | 1594.271 | 1479.8558 | 1356.8164 | 1224.4534 | 1082.0082 | 928.6575 | 763.5084 | 615.7398 | 474.0905 | 324.932 | 167.2048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CASH FLOW
Receivables (60 days) / change in WC | 73.5476 | 73.5297 | 73.5095 | 73.4869 | 73.4618 | 73.4341 | 73.4038 | 73.3707 | 73.3349 | 73.2961 | 73.2543 | 73.2094 | 73.1614 | 73.11 | 73.0553 | 72.9971 | 72.9352 | 72.8697 | 72.8004 | 72.7271 | 72.6498 | 72.5683 | 72.4825 | 72.3923 | 72.2975
CFADS (EBITDA - tax - change in WC) | 314.0589 | 386.0723 | 384.458 | 382.777 | 381.027 | 379.2057 | 377.3105 | 375.3391 | 373.2886 | 371.1565 | 368.94 | 366.636 | 364.2418 | 317.1886 | 289.0301 | 281.8088 | 275.1825 | 268.7902 | 262.4081 | 259.8037 | 257.2196 | 254.6092 | 251.9435 | 249.2037 | 246.377
BESS augmentation capex | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 405 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FCFE (CFADS - debt service - augmentation) | 101.6006 | 124.8975 | 124.3752 | 123.8314 | 123.2653 | 122.676 | 122.063 | 121.4252 | 120.7618 | 120.0721 | -285.645 | 118.6097 | 117.8351 | 102.6131 | 93.5035 | 91.1674 | 89.0237 | 86.955 | 262.4081 | 259.8037 | 257.2196 | 254.6092 | 251.9435 | 249.2037 | 246.377
DSCR (x) | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782
Post-augmentation DSCR (x) | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | -0.14448 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782 | 1.4782
EQUITY & PROJECT CASH FLOWS (t0, t1 = construction years)
Equity cash flow | -323.4368 | -395.3117 | 101.6006 | 124.8975 | 124.3752 | 123.8314 | 123.2653 | 122.676 | 122.063 | 121.4252 | 120.7618 | 120.0721 | -285.645 | 118.6097 | 117.8351 | 102.6131 | 93.5035 | 91.1674 | 89.0237 | 86.955 | 262.4081 | 259.8037 | 257.2196 | 254.6092 | 251.9435 | 249.2037 | 246.377
Project cash flow | -1293.7472 | -1581.2466 | 314.0589 | 386.0723 | 384.458 | 382.777 | 381.027 | 379.2057 | 377.3105 | 375.3391 | 373.2886 | 371.1565 | -36.06 | 366.636 | 364.2418 | 317.1886 | 289.0301 | 281.8088 | 275.1825 | 268.7902 | 262.4081 | 259.8037 | 257.2196 | 254.6092 | 251.9435 | 249.2037 | 246.377
RESULTS
Bid tariff (Rs/kWh) | 5.9113
Project IRR (pre-financing, post-tax) | 10.1%
EQUITY IRR | 14%
Equity NPV @ discount rate | 257.397
Min DSCR (debt years) | 1.4782
Average DSCR (debt years) | 1.4782
IRR target met (>= 14%)? | PASS
DSCR floor met (>= 1.10x)? | PASS
Bid tariff is the LOWEST tariff meeting both -> re-derive with Goal Seek (see Assumptions legend).

## Tender Compliance
Hard Tender Conditions & Optimized Output Validation
HARD TENDER CONDITIONS (NHPC FDRE T-II) | Model value | Requirement | Status | Reference
Monthly peak availability — minimum month (year 1) | 90% | 90% | PASS | RfS: 90% of contracted capacity across 4 daily peak hours, tested monthly
All 12 months compliant (year 1) | ALL PASS | "ALL PASS" | PASS | Both peak and annual LDs can apply in the same year
Annual CUF — minimum year | 40% | 0.34 | PASS | Floor: declared CUF - 15% (34%)
Annual CUF — maximum year (offtake cap) | 40% | 0.44 | PASS | Cap: 110% of declared CUF (44%) — NHPC purchase limit
Liquidated damages — total (year 1) | 0 | 0 | PASS | 1.5x tariff on shortfall energy
Bid capacity >= minimum project size | 200 | 50 MW | PASS | RfS minimum 50 MW
Bid capacity multiple of 10 MW | 0 | 0 | PASS
Bid capacity <= bidder cap | 200 | 600 MW | PASS | RfS maximum 600 MW per bidder
BESS charging source | "RE only" | "RE only" | "PASS" | By construction: BESS charges only from co-located RE (no grid/fossil)
Declared CUF >= 40% | 40% | 40% | PASS | RfS minimum declaration
OPTIMIZED OUTPUT VALIDATION (model vs optimizer result) | Optimizer | This model | Match
Solar capacity (MW) | 288.8 | 288.8 | MATCH
Wind capacity (MW) | 40.9 | 40.9 | MATCH
BESS power (MW) | 180 | 180 | MATCH
BESS energy (MWh) | 540 | 540 | MATCH
Selected bid capacity (MW) | 200 | 200 | MATCH
Required tariff (Rs/kWh) — declared CUF 40% / 90% availability | 5.9113 | 5.9113 | MATCH
Equity IRR at bid tariff | 14% | 14% | MATCH
Min DSCR at bid tariff (>= floor) | 1.1 | 1.4782 | PASS

## Validation
Validation — Excel formulas vs dispatch engine (calibrated reference run)
Engine: fdre_enterprise_engine.py, seed 42, capacities as bid, delivery at declared CUF 40% / availability 90% (compliant, zero LD), tariff Rs 5.9113.
Metric | Engine | This model | Delta % | Status
Hard capex (cr) | 2705.6081 | 2705.6081 | 0% | PASS
IDC (cr) | 169.3857 | 169.3857 | -1.33e-07% | PASS
Total project cost (cr) | 2874.9938 | 2874.9938 | -7.838e-09% | PASS
Debt (cr) | 2156.2454 | 2156.2454 | 1.535e-08% | PASS
Equity (cr) | 718.7485 | 718.7485 | 6.173e-08% | PASS
EMD (cr) | 10 | 10 | 0% | PASS
PBG (cr) | 145.806 | 145.806 | 0% | PASS
Year-1 PPA energy (MWh) | 701280 | 701280 | 0% | PASS
Year-1 merchant energy (MWh) | 105444.8104 | 105444.8104 | -2.438e-10% | PASS
Year-1 total revenue (cr) | 447.4146 | 447.4146 | -5.151e-08% | PASS
Year-1 total opex (cr) | 59.8081 | 59.8081 | 2.504e-07% | PASS
Year-1 EBITDA (cr) | 387.6065 | 387.6065 | -9.81e-08% | PASS
Year-1 CFADS (cr) | 314.0589 | 314.0589 | -1.305e-08% | PASS
Year-1 FCFE (cr) | 101.6005 | 101.6006 | 1.86e-05% | PASS
Year-14 tax (first tax-paying year, cr) | 44.5655 | 44.5655 | -0.000148% | PASS
Year-11 augmentation (cr) | 405 | 405 | 0% | PASS
Year-25 EBITDA (cr) | 327.1373 | 327.1373 | 2.552e-08% | PASS
Equity IRR | 14% | 14% | -9.999e-05% | PASS
Project IRR | 10.1% | 10.1% | -0.0004305% | PASS
Min DSCR (x) | 1.4782 | 1.4782 | -0.0004277% | PASS
Equity NPV @10% (cr) | 257.3969 | 257.397 | 1.736e-05% | PASS
PASS = within 0.5%. Engine values are hardcoded reference outputs from the calibrated run; model values are live formulas.